Bioretention Area Maintenance Plan for

[[== Insert Project Name ==]]

[[== Insert Date =]]

Vegetated swales are open, shallow channels with thick vegetation covering the side slopes and bottom that collect and slowly convey runoff to downstream discharge points.

Project Address and Cross Streets

Assessor’s Parcel No.:

Property Owner:

Phone No.:

Designated Contact:  				 	  Phone N

Phone No.:

Mailing Address:

Bioretention areas function as soil and plant-based filtration devices that remove pollutants through a variety of physical, biological, and chemical treatment processes. These facilities normally consist of a grass buffer strip, sand bed, ponding area, organic layer or mulch layer, planting soil, and plants.

The property contains [[== insert number ==]] bioretention area(s), located as described below and as shown in the attached site plan.

- Bioretention Area No. 1 is located at [[== describe location ==]].

- [[== Add descriptions of other bioretention areas, if applicable. ==]]

## I.	Routine Maintenance Activities

The principal maintenance objective is to prevent sediment buildup and clogging, which reduces pollutant removal efficiency and may lead to bioretention area failure. Routine maintenance activities, and the frequency at which they will be conducted, are shown in Table 1.

| Table 1 Routine Maintenance Activities for Bioretention Areas |  |  |
| --- | --- | --- |
| No. | Maintenance Task | Frequency of Task |
| 1 | Remove obstructions, debris and trash from bioretention area and dispose of properly. | Monthly, or as needed after storm events |
| 2 | Inspect bioretention area to ensure that it drains between storms and within five days after rainfall. | Monthly, or as needed after storm events |
| 3 | Inspect inlets for channels, soil exposure or other evidence of erosion. Clear obstructions and remove sediment. | Monthly, or as needed after storm events |
| 4 | Remove and replace all dead and diseased vegetation. | Twice a year |
| 5 | Maintain vegetation and the irrigation system. Prune and weed to keep bioretention area neat and orderly in appearance. | Before wet season begins, or as needed |
| 6 | Check that mulch is at appropriate depth (3 inches per soil specifications) and replenish as necessary before wet season begins. | Monthly |
| 7 | Inspect bioretention area using the attached inspection checklist. | Monthly, or after large storm events, and after removal of accumulated debris or material |

## II.	Prohibitions

The use of pesticides and quick release fertilizers shall be minimized, and the principles of integrated pest management (IPM) followed:

- Employ non-chemical controls (biological, physical and cultural controls) before using chemicals to treat a pest problem.

- Prune plants properly and at the appropriate time of year.

- Provide adequate irrigation for landscape plants.  Do not over water.

- Limit fertilizer use unless soil testing indicates a deficiency.  Slow-release or organic fertilizer is preferable.  Check with municipality for specific requirements.

- Pest control should avoid harming non-target organisms, or negatively affecting air and water quality and public health.  Apply chemical controls only when monitoring indicates that preventative and non-chemical methods are not keeping pests below acceptable levels.  When pesticides are required, apply the least toxic and the least persistent pesticide that will provide adequate pest control.  Do not apply pesticides on a prescheduled basis.

- Sweep up spilled fertilizer and pesticides.  Do not wash away or bury such spills.

- Do not over apply pesticide.  Spray only where the infestation exists.  Follow the manufacturer’s instructions for mixing and applying materials.

- Only licensed, trained pesticide applicators shall apply pesticides.

- Apply pesticides at the appropriate time to maximize their effectiveness and minimize the likelihood of discharging pesticides into runoff.  With the exception of pre-emergent pesticides, avoid application if rain is expected.

- Unwanted/unused pesticides shall be disposed as hazardous waste.

Standing water shall not remain in the treatment measures for more than five days, to prevent mosquito generation.  Should any mosquito issues arise, contact the San Mateo County Mosquito Abatement District (SMCMAD), as needed for assistance.  Mosquito larvicides shall be applied only when absolutely necessary, as indicated by the SMCMAD, and then only by a licensed professional or contractor. Contact information for SMCMAD is provided below.

## III.	Mosquito Abatement Contact Information

San Mateo County Mosquito Abatement District

1351 Rollins Road
Burlingame,CA 94010
PH:(650) 344-8592
FAX: (650) 344-3843
Email: info@smcmad.org

## IV.	Inspections

The attached Bioretention Area Inspection and Maintenance Checklist shall be used to conduct inspections monthly (or as needed), identify needed maintenance, and record maintenance that is conducted.

Bioretention Area

Infiltration trench Maintenance Plan – Page 1

# Inspection and Maintenance Checklist

Property Address: 									Property Owner:

Treatment Measure No.:  		     Date of Inspection:  		          Type of Inspection:   Monthly                   Pre-Wet Season

 After heavy runoff   End of Wet Season

Inspector(s):  											     Other:

| Defect | Conditions When Maintenance Is Needed | Maintenance Needed? (Y/N) | Comments (Describe maintenance completed and if needed maintenance was not conducted, note when it will be done) | Results Expected When Maintenance Is Performed |
| --- | --- | --- | --- | --- |
| 1. Standing Water | When water stands in the bioretention area between storms and does not drain within five days after rainfall. |  |  | There should be no areas of standing water once inflow has ceased. Any of the following may apply: sediment or trash blockages removed, improved grade from head to foot of bioretention area, or added underdrains. |
| 2. Trash and Debris Accumulation | Trash and debris accumulated in the bioretention area. |  |  | Trash and debris removed from bioretention area and disposed of properly. |
| 3. Sediment | Evidence of sedimentation in bioretention area. |  |  | Material removed so that there is no clogging or blockage. Material is disposed of properly. |
| 4. Erosion | Channels have formed around inlets, there are areas of bare soil, and/or other evidence of erosion. |  |  | Obstructions and sediment removed so that water flows freely and disperses over a wide area. Obstructions and sediment are disposed of properly. |
| 5. Vegetation | Vegetation is dead, diseased and/or overgrown. |  |  | Vegetation is healthy and attractive in appearance. |
| 6. Mulch | Mulch is missing or patchy in appearance. Areas of bare earth are exposed, or mulch layer is less than 3 inches in depth. |  |  | All bare earth is covered, except mulch is kept 6 inches away from trunks of trees and shrubs. Mulch is even in appearance, at a depth of 3 inches. |
| 7. Miscellaneous | Any condition not covered above that needs attention in order for the bioretention area to function as designed. |  |  | Meet the design specifications. |

Bioretention areas include linear treatment measures designed to filter water through biotreatment soils. A bioretention area that has no waterproof liner beneath it and has a raised underdrain in the underlying rock layer to promote infiltration, as shown in Section 6.1 of the C.3 Technical Guidance, may also be called a “bioinfiltration area”.

Attached site plan must match the site plan exhibit to Maintenance Agreement.